Emergency Management Checklist for Floods and Flash Floods

Floods are the most common and widespread of all natural disasters. Most communities in the United States can experience some degree of flooding after spring rains, heavy thunderstorms, or winter snow thaws. Most floods develop slowly over a period of days. Flash floods, however, are like walls of water that develop in a matter of minutes. Flash floods can be caused by intense storms or a dam failure.

Your business should have a written plan for responding to floods and flash floods. Consider the following when developing your plans:

|  | Yes | No | N/A |
| --- | --- | --- | --- |
| Have you asked your local emergency management office whether your facility is located in a flood plain? |  |  |  |
| Have you learned the elevation of your facility in relation to steams, rivers, and dams, as well as the history of flooding in your area? |  |  |  |
| Have you reviewed the community's emergency plan? |  |  |  |
| Have you learned the community's evacuation routes, as well as where to find higher ground in case of a flood? |  |  |  |
| Have you established warning and evacuation procedures for the facility? |  |  |  |
| Have you made plans for assisting employees who may need transportation in an emergency? |  |  |  |
| Have you inspected your facility for areas that may be subject to flooding? |  |  |  |
| Have you identified records and equipment that can be moved to a higher location, and made plans to move records and equipment in case of flooding? |  |  |  |
| Have you purchased a National Oceanic and Atmospheric Administration (NOAA) Weather Radio with a warning alarm tone and battery backup to listen for flood watches and warnings? |  |  |  |
| Have you asked your insurance carrier for information about floods? |  |  |  |
| Have you considered the feasibility of floodproofing your facility (see note below)? |  |  |  |
| Are you participating in community flood control projects? |  |  |  |

Note: There are three basic types or methods of floodproofing. These are:

Permanent floodproofing measures are taken before a flood occurs and require no human intervention when flood waters rise. They include: filling windows, doors or other openings with water-resistant materials such as concrete blocks or bricks (this approach assumes the structure is strong enough to withstand flood waters); installing check valves to prevent water from entering where utility and sewer lines enter the facility; reinforcing walls to resist water pressure and sealing walls to prevent or reduce seepage; building watertight walls around equipment or work areas within the facility that are particularly susceptible to flood damage; constructing floodwalls or levees outside the facility to keep flood waters away; and elevating the facility on walls, columns or compacted fill (this approach is most applicable to new construction, though many types of buildings can be elevated).

Contingent floodproofing measures are also taken before a flood but require some additional action when flooding occurs. These measures include: installing watertight barriers called flood shields to prevent the passage of water through doors, windows, ventilation shafts or other openings; installing permanent watertight doors; constructing movable floodwalls; and installing permanent pumps to remove flood waters.

Emergency floodproofing measures are generally less expensive than those listed above, though they require substantial advance warning and do not satisfy the minimum requirements for watertight floodproofing as set forth by the National Flood Insurance Program (NFIP). They include: building walls with sandbags; constructing a double row of walls with boards and posts to create a "crib," then filling the crib with soil; constructing a single wall by stacking small beams or planks on top of each other; and having backup systems available, such as portable pumps to remove flood water, alternate power sources such as generators or gasoline-powered pumps, and battery-powered emergency lighting.